Patient 2 results

Pressure support changes time in seconds

PS = 18

For first Chuncks Ps = 18 and the max inspiratory is always higher than min expiratory indicating PPV (magenta).

The min inspiratory appears to be higher than the max expiratory indicating absence of NPV (green)

First chuck 0-120

Second 330-420

PS = 13

The max inspiratory is always higher than min expiratory indicating PPV (magenta).

The min inspiratory appears to be higher than the max expiratory indicating absence of NPV (green)

420-500

500-800

1200-1400

1700-1800

2200 – 2100

2670-2720

PS = 10

The max inspiratory is always higher than min expiratory indicating PPV (magenta),m but it starts to flatten out.

The min inspiratory appears to be higher than the max expiratory indicating absence of NPV (green) but it starts to flatten out

3000-3500

3500- 3570 – same

3600-3720 – same

3770- 3850

The initial inspiratory systolic is clearly effected by the underpressure

PS = 8

The max inspiratory is almost the same as the min expiratory (indication of reducing  PPV (magenta))

The min inspiratory is almost the same as the max expiratory indicating onset of  NPV (green)

Sometmies the signals switch

4000-4350

4540 – 4610

Switching signals

PS = 6

The max inspiratory starts to be lower than the min expiratory (indication of reducing  PPV (magenta))

The min inspiratory is lower that the max expiratory indicating onset of  NPV (green)

4940-5040

5580-5740 - same

PS = 3

The max inspiratory starts to be lower than the min expiratory (indication of reducing  PPV (magenta))

The min inspiratory is lower that the max expiratory indicating onset of  NPV (green)

5960 -6030

6520 – 6590 – same

PS = 2

The max inspiratory starts to be lower than the min expiratory (indication of reducing  PPV (magenta))

The min inspiratory is lower that the max expiratory indicating onset of  NPV (green)

6680-6840

6820 – 6980 – same

Summary of patient results

Zoomed in

Assuming the true respiratory compliance is the minimum as the maximum PS then one can calculate a surrogate Pmus

0

Removal of the abnormal rates filters out some outliers.